## Slide 1: LIFE AFTER FEED-IN TARIFFS
Mark Byrne, Total Environment Centre
Tom Nockolds, Community Power Agency

## Slide 2: Project partners
This project was funded by Energy Consumers Australia as part of its grants process for consumer advocacy projects and research projects for the benefit of consumers of electricity and natural gas. The views expressed in this document do not necessarily reflect the views of Energy Consumers Australia.

## Slide 3: Premium feed-in tariffs
NSW – Solar Bonus Scheme:
Paying a premium price for solar electricity exported to the grid
Stimulating investment in solar industry
Cost have come down
Designed to operate for a limited time

## Slide 4: Who is affected?
New South Wales
Since 2010
146,000 customers
Until 31 Dec 2016
Victoria
Since 2011
67,160 customers
Until 31 Dec 2016
South Australia
Since 2011
62,785 customers
Until 30 Sep 2016

## Slide 5: Bill shock

## Slide 6: Bill shock
The average loss of income for someone with a 2kW system currently on the 60c SBS is ~$1600 pa
Your “behind the meter” solar will still be worth about $450 pa
Increasing your usage from 50% to 75% will earn you about another $200 pa
Notes: 2Kw x 4 h/day x 365 days x 60c = $1750
2Kw x 4 h/day x 365 days x 6c = $175
Difference = about $1600

## Slide 7: Financial motivation
“How to minimise the financial impact of the end of the Solar Bonus Scheme”

## Slide 8: Tech report
Commissioned by Total Environment Centre
Prepared by Alternative Technology Association
Describes the financial impact on customers of the end of premium feed-in-tariffs
Outlines opportunities such as metering, retail strategies, batteries, etc.

## Slide 9: Key terms
Premium feed-in tariff - 60c/kWh or 20c/kWh
Retail energy cost ~27c/kWh
Standing charges ~$1/day
Solar export price - 0-10c/kWh
Payback period

## Slide 10: five step plan

## Slide 11: Before you start
You aren’t legally required to do anything – but you’ll be worse off, and decisions may be made for you
It’s good to know who your retailer is, what tariff you’re on and what appliances use the most energy around your home
To lower your electricity bills there’s a host of other energy conservation and efficiency measures you could consider

## Slide 12: Step 1: Get the right metering
NSW Solar Bonus Scheme was based on a ‘gross’ feed-in tariff

## Slide 13
If your feed in tariff is higher than the price you pay for electricity, gross metering is better
Step 1: Get the right metering

## Slide 14: Step 1: Get the right metering
If your feed in tariff is lower than the price you pay for electricity, net metering is best

## Slide 15: Step 1: Get the right metering
Options
  Do nothing
  Network may read your gross meter as a net meter (~$150?)
  Get a new interval meter from your network (up to $600?)
  Get a new “free” smart meter from your retailer

## Slide 16: Step 1: Get the right metering
What is a smart meter?
2 way comms – ie, sends data back to network and retailer daily
Makes some functions easier and cheaper
Required from 2018 for new home + replacements
Radiation concerns

## Slide 17: What do smart meters do?
Turn electricity supply on and off remotely
Meter read — scheduled and on demand
Meter installation enquiry — remotely obtaining energy information, meter status, and usage data
Meter reconfiguration – remotely enable access to new tariffs and new arrangements, such as solar connections and demand tariffs

## Slide 18: Smart meter data

## Slide 19: Passive energy monitors and in home displays
Notes: L: simple 1 appliance monitor
M & R: full IHDs

## Slide 20: Energy management systems & “push controls”
“Internet of things”
Control appliances remotely
EMSs automatically choose best place to put your solar energy
Notes: L: AGL Solar Command (similar to Solar Analytics)
R: Reposit Power’s GridCredits

## Slide 21: Selling your energy
Notes: L: AGL Solar Command (similar to Solar Analytics)
R: Reposit Power’s GridCredits

## Slide 22: STEP 1: WHAT TO DO?
Has your retailer already contacted you?
  If so, get cracking!
  Opt-in or opt-out?
  Carefully evaluate their offer, eg re new terms & conditions
Make sure your ‘gross’ metering runs until 31 Dec 2016
Get enrgy data from the retailer’s web portal
Consider an energy monitor

## Slide 23: Step 2: Use more of your solar electricity
The average household exports more than 50% of its solar energy to the grid, but…
Your solar is worth more to you (~27c) than to your retailer (0-10c) so…
Maximise the use of your solar rather than export it!

## Slide 24: How much am I “wasting”?
Notes: Image courtesy Dr Martin Gill using Ausgrid data

## Slide 25: Step 2: Use more of your solar electricity
What are the two biggest energy uses in a typical Sydney home?
Space heating and cooling
Hot water

## Slide 26: Step 2: Use more of your solar electricity
Hot water heating using solar electricity
  Traditional electric storage hot water system
  Heat pump (similar to a reverse-cycle air conditioner)
Requires
  Net metering
  Water heater not on off-peak circuit
  Operates during the day (install a timer or switch)
  May require rewiring

## Slide 27
“A large 400L tank will store about 19kWh of usable energy, which is more than double the nominal capacity of Tesla's new daily-cycle 7kWh Powerwall unit.”
CHOICE
Considerations
How big is your solar system and your hot water tank?
How much do you get for exported solar and pay to heat water?
Do you need an electrician to do this?
Notes: Quote from Choice article

## Slide 28: Step 2: Use more of your solar electricity
Heating or cooling using solar electricity
  Reverse cycle air conditioning
  Heat pump hydronic system
Requires
  Net metering
  A well insulated house
  Possibly remote control of appliances

## Slide 29: Power diverters

## Slide 30: NABERS Energy Explorer

## Slide 31: STEP 2: WHAT TO DO?
Where possible use appliances when the sun is shining
Move towards electric hot water and heating/cooling
Install timers on your hot water system and other appliances
Pre-heat or pre-cool your house (if you’ve got good insulation)

## Slide 32: STEP 3: Make a plan to get off gas
Why have 3 sources of energy?
Using electricity to power your two main appliances (hot water and heating/cooling) makes more sense
An all electric home can save thousands of dollars each year
Induction cooking is more efficient than cooking with gas

## Slide 33: STEP 3: WHAT TO DO?
No urgency, but gas appliances, when they fail, may need replacing immediately, so make a plan to get off gas
  Hot water system
  Cooking
  Heating

## Slide 34: Step 4: Get the best electricity deal
Shop around, taking into account
  Your solar export price
  Daily supply charge
  Consumption (c/kWh) charges
  Pay on time discount
Know the tariff types available to you
Avoid getting locked into a bad deal for a long time
Notes: Does anyone know what tariff
Flat, declining, time of use)

## Slide 35: Solar export prices
IPART’s “benchmark rate” = 5.5-7.2c/kWh
Retailers currently offering 0c-10c/kWh
Notes: Does anyone know what tariff
Flat, declining, time of use)

## Slide 36: Tariff types
Flat
Inclining or declining block
Time of use
  Better for “at homes”, worse for working families
Demand
  Likely to be more common in future
New
  Fixed for a year or “All you can eat”
  Wholesale plus flat monthly fee
Notes: Does anyone know what tariff
Flat, declining, time of use)

## Slide 37: Ausgrid’s time of use tariffs

## Slide 38: Step 4: Get the best electricity deal
For green electricity, consider GreenPower
Check out the Green Electricity Guide

## Slide 39: STEP 4: WHAT TO DO?
Calculate your likely total annual bill with your current retailer after the SBS ends
Consider whether you are on the best tariff type
Use a comparison site like Energy Made Easy to shop around
Read the terms and conditions closely
Notes: Flat tariffs best for working families, ToU or demand best for stay-at-homes (because they use more when energy is cheap)

## Slide 40: Step 5: Consider more solar or a small battery
More solar might makes sense if you have a west-facing roof
May require wholly separate system

## Slide 41: Battery economics
Retrofitting batteries is not currently cost effective
Smaller batteries may become economic before 2020
Going offgrid is unlikely to be economic for decades

## Slide 43: Why get a battery?
Save money by reducing peak consumption
Make money by selling power back to the grid
Have backup in case of blackouts
Be energy independent
Store renewable energy

## Slide 44: The logic of peak shaving
Notes: Solar Choice

## Slide 45: The logic of peak shaving

## Slide 46: Considerations
Peak shaving, backup or offgrid capability
Matching output to solar + consumption
Single or modular
Power or energy
Warranty – eg cycles
Tech specs
Compatibility with hybrid inverters
Environmental (lifecycle) concerns

## Slide 47: Tesla warranty

## Slide 48: Offgrid economics
SCENARIO 1 – TYPICAL SYDNEY HOUSEHOLD (6500kWh pa)
Average daily consumption = 20kWh
5 day wet/cloudy spell = 100kWh
Battery cost @ ~$1000/kWh = $100,000
Average bill = $2000 pa
Oversimplified payback period = 50 years
Notes: Simple payback period doesn’t include NPV, maintenance/replacement costs, etc

## Slide 49: Offgrid economics
SCENARIO 2 – SMALL EFFICIENT RURAL HOUSEHOLD (1500kWh pa)
Average daily consumption =5kWh
2 day wet/cloudy spell* = 10kWh
Battery cost @ ~$1000/kWh = $10,000
Average bill = $1000 pa
Oversimplified payback period = 10 years
* How much do you like candlelight and melted icecream?
Notes: Simple payback period doesn’t include NPV, maintenance/replacement costs, rising retail tariffs, ToU tariffs, etc

## Slide 50: STEP 5: WHAT TO DO?
Prepare for batteries by completing steps 1-4
Do your sums: for love or money?
Don’t upgrade your existing inverter until you’re ready to consider batteries
Keep your eye on prices
Talk to an established local solar specialist

## Slide 51: THE BOTTOM LINE
OPTION 1: HERE AND NOW or MINIMALIST
  Follow steps 1 and 4
OPTION 2: FUTURE NO-SHOCK
  Generate most of own power
  Bills under $1000
  One meter
  One fuel source
Then…
  Follow all 5 steps
  Don’t forget energy efficiency

## Slide 52: Getting help
This project: www.solarcitizens.org.au/life_after_fits
Basic info:www.resourcesandenergy.nsw.gov.au/energy-consumers/solar/solar-bonus-scheme
Retailer comparison: www.energymadeeasy.gov.au
Energy Storage Council: http://energystorage.org.au/wp-content/uploads/2016/05/BATTERY_GUIDE_WEB.pdf
Home energy options: http://home.nabers.com.au
Complaints: www.ewon.com.au

## Slide 53: Thank you